**I0CZZ000.272.11.2021 Appendix No. 1 to Offer Inquiry**

………………………………………. ……………………………………..

*Name and the address of the Economic Contractor*  */place and date/*

Phone: ……………….…………………., e-mail: ……….….…………………….…

NIP (Tax Payer Identification): ………………………….. ,

Regon (National Business Registry): ………………………

**The Offer**

By responding to the invitation to participate in the procedure conducted in the form of an inquiry concerning:

**the delivery of the five identical accelerometers with the necessary auxiliary devices, carried out under the project „EPOS – European Plate Observing System (EPOS-PL+)”, TASK 5, Grant agreement No. POIR.04.02.00-00-C005/19-00.**

in accordance with the requirements specified in the inquiry posted on the Ordering Party's website [www.upwr.edu.pl](http://www.upwr.edu.pl).

1. WE OFFER the performance of the subject of the contract for the price [[1]](#footnote-1):

net: **……………………………….….…….** PLN / EUR,

+ VAT due ….% in the amount of: **……….** PLN / EUR,

**Total gross remuneration: ………..…….. PLN / EUR**,

1. **We offer …………… months of warranty** for the subject of the order (*fill in according to the information in chapter 14 of the Offer Inquiry*).
2. **The Economic Contractor declares that:**
3. He has read the content of the Offer Inquiry and possible modifications, including the description of the subject of the contract and the contract template, and does not raise any objections to them and accepts the conditions contained therein and obtained all the information necessary to prepare the offer,
4. considered to be bound by this offer for the time specified in the Offer Inquiry, i.e. for a period of 30 days from the deadline for submitting offers,
5. the offer price includes all costs related to the performance of the contract,
6. accepts the terms of payment for the order specified in the contract template,
7. after the choice of his offer becomes final, he undertakes to conclude a contract in accordance with this offer under the conditions specified in the inquiry, at the place and date indicated by the Contracting Authority.
8. **Moreover, the Economic Contractor declares that:**
9. **It is not** related to or **is not** a subsidiary, jointly dependent, or dominant entity in relation to the Contracting Authority within the meaning of the Accounting Act of 29 September 1994 (Journal of Laws of 2013, item 330, as amended,
10. **It is not** an entity with the Contracting Authority in such a factual or legal relationship that may raise justified doubts as to the impartiality in choosing the supplier of goods or services, in particular, those who are married, the relationship of kinship or affinity up to the second degree, adoption, guardianship or guardianship, and also through membership in the bodies of the supplier of goods or services,
11. **It is not** a related entity or a partner entity in relation to the Contracting Authority within the meaning of Commission Regulation (EU) No 651/2014,
12. **It[[2]](#footnote-2) is not** an entity related personally to the Contracting Authority within the meaning of Art. 32 section 2 of the Act of March 11, 2004 on tax on goods and services (Journal of Laws of 2011, No. 177, item 1054, as amended).

I indicate the following free and generally accessible database, in particular public registers within the meaning of the Act of February 17, 2005 on the computerization of the activities of entities performing public tasks (Journal of Laws of 2017, item 570 and of 2018, item 1000, 1544 and 1669) ……………………………………………. from which the Contracting Authority may download a current excerpt from the **relevant register or from the central register of information on economic activity** (issued not earlier than 6 months before the deadline for submitting offers ofert)[[3]](#footnote-3).

The offer was submitted on ..................... pages.

The following documents constitute an integral part of the offer:

1/ ...........................................................................................................................................

2/ ...........................................................................................................................................

.................................., date: ......................

*(Place)*

...........................................................

*(signature (s) of authorized person (s) to represent*

*the Economic Contractor)*

**I0CZZ000.272.11.2021 Appendix No 2b to Offer Inquiry**

……………………………………………………….………….

*Name and the address of the Economic Contractor*

**DECLARATION OF FULFILLMENT OF THE CONDITIONS**

**OF PARTICIPATION IN THE PROCEDURE**

By joining the procedure conducted as part of the Offer Inquiry regarding:

**the delivery of the five identical accelerometers with the necessary auxiliary devices, carried out under the project „EPOS – European Plate Observing System (EPOS-PL+)”, TASK 5, Grant agreement No. POIR.04.02.00-00-C005/19-00**

The Economic Contractor declares that he meets the conditions specified in the Offer Inquiry regarding:

1. **Competence or authorization to conduct a specific professional activity, if this is required from separate regulations;**
2. **Economic or financial standing;**
3. **Technical or professional ability;**

.................................., dn. ...................... ..............................................................................

*(Place)* *(signature (s) of authorized person (s) to represent*

*the Economic Contractor)*

**I0CZZ000.272.11.2021 Appendix No 2b to Offer Inquiry**

…………………………………………….

*Name and the address of the Economic Contractor*

**DECLARATION OF NO GROUNDS FOR EXCLUSION**

By joining the procedure conducted as part of the Offer Inquiry regarding:

**the delivery of the five identical accelerometers with the necessary auxiliary devices, carried out under the project „EPOS – European Plate Observing System (EPOS-PL+)”, TASK 5, Grant agreement No. POIR.04.02.00-00-C005/19-00**

**We declare that:**

1. The Economic Contractor I represent is not related to the Contracting Authority by capital or person. Capital or personal ties are understood as interrelationships between the Ordering Party or persons authorized on behalf of the Contracting Authority or persons performing on behalf of the Contracting Authority activities related to the procedure of selecting the Economic Contractor and the Contractor, in particular:
2. participating in the company as a partner in a civil partnership or partnership,
3. owning at least 10% of shares or stocks, unless a lower threshold is required by law,
4. acting as a member of the supervisory or management body, proxy,
5. being married, in relationship of kinship or affinity in a straight line, kinship of the second degree or affinity in the lateral line or in relation to adoption, care, or guardianship.
6. The Economic Contractor I represent **does not have** such a factual or legal relationship with the Contracting Authority that may raise justified doubts as to impartiality,
7. The Economic Contractor I represent **did not directly perform activities** related to the preparation of the procedure or I used/did not use persons participating in these activities to prepare the offer,
8. in relation to the Economic Contractor whom I represent, **the liquidation has not been opened**, in the arrangement approved by the court in the restructuring proceedings it is provided that the creditors will be satisfied by liquidation of his assets or the court has ordered the liquidation of his assets pursuant to art. 332 sec. 1 of the Act of May 15, 2015 - Restructuring Law (Journal of Laws, item 978, as amended); **bankruptcy has not been announced**, with the exception of a contractor who, after the declaration of bankruptcy, concluded an arrangement approved by a legally valid court decision, if the arrangement does not provide for the satisfaction of creditors by liquidation of the bankrupt's assets, unless the court ordered the liquidation of his assets pursuant to Art. 366 paragraph. 1 of the Act of February 28, 2003 - Bankruptcy Law (i.e. Journal of Laws 2019, item 498);

.................................., dn. ...................... ..............................................................................

*(Place)* *(signature (s) of authorized person (s) to represent*

*the Economic Contractor)*

I0CZZ000.272.11.2021 *Appendix No. 4 to Offer Inquiry*

*(stamp of the Economic Operator)*

**TECHNICAL PARAMETERS OF THE SUBJECT MATTER OF THE CONTRACT**

Name and address of the Economic Contractor: .......................................................................................................

.....................................................................................................................................................................................

Name and type (manufacturer) of the equipment offered: ........................................................................................

|  |  |  |  |
| --- | --- | --- | --- |
| **Name of the subject matter of the contract: Purchase of five identical accelerometers and necessary ancillary equipment within the project "EPOS - European Plate Observation System (EPOS-PL+)", Grant Agreement no POIR.04.02.00-00-C005/19-00** | | | |
| No. | Technical specifications | Parameters required by the contracting authority | Offered parameters**\***  (to be filled in by the Economic Operator) |
| 1. | 2. | 3. | 4. |
| **ACCELEROMETER** | | | |
| 1. | Power supply voltage | 5 – 36 VDC |  |
| 2. | Available operating modes | The device must be able to work in continuous mode or on the occurrence of a defined trigger. |  |
| 3. | Device time synchronization | The device should provide the ability to synchronize time with GPS time via an external time server or using an external GNSS antenna |  |
| 4. | Passband | From DC-300 Hz to DC-1600 Hz |  |
| 5. | Noise generated by the device | The noise of the device should be in the range from  0.5 |  |
| 6. | Measurement range | The device shall be capable of operating in the range of -2g to +2g and in the range of -3g to +3g |  |
| 7. | Dynamic range | From 100 dB to 170 dB |  |
| 8. | Device accuracy | 2.5V/g to 3.5V/g for operation from -2g to +2g and 0.9V/g to 1.9V/g for operation from -3g to +3g |  |
| 9. | Accelerometer operating temperature | The device should ensure operation in a temperature range from -20°C to +60°C |  |
| 10. | Length of power cable | 5 metres (If different, ensure replacement with a 5 metres cable.) |  |
| **DIGITIZER** | | | |
| 11. | Number of acceleration channels measured | not less than 3 |  |
| 12. | Sampling rate | From 50 Hz to 400 Hz |  |
| 13. | Analogue to digital converter | From 24 to 48 bit |  |
| 14. | Power supply voltage | 5-36 V |  |
| 15. | Digitizer operating temperature | The device should ensure trouble-free operation within the temperature range from -20°C to +60°C |  |
| 16. | Memory card | industrial memory card from 64 GB to 128 GB |  |
| 17. | Data storage capabilities | possibility to record continuous and triggered data |  |
| 18. | Data recording format | miniSEED |  |
| **DEVICE DATA TRANSFER** | | | |
| 19. | Device ports | Ethernet |  |
| 20. | Support for data exchange protocols | The device should support the following data exchange protocols: SSH, FTP, SFTP, HTTP |  |
| 21. | Method of management | Possibility to operate the device via WEB interface |  |
| 22. | GPS or GNSS time synchronization with internal GPS or GNSS receiver | If the offered device is equipped with an internal GPS or GNSS receiver for time synchronization, the ordering party requires delivery of a dedicated GPS or GNSS antenna with a dedicated cable of at least 5 m length |  |
| **ADDITIONAL REQUIREMENTS** | | | |
| 23. | Weight of accelerometer including digitizer | from 1,5 kg to 3,0 kg |  |
| 24. | Dimensions of the device | The device should be no larger than 17 cm in diameter and no higher than 17 cm |  |
| 25. | Water and dust resistance | IP67 or equivalent |  |
| 26. | Warranty | The equipment shall be covered by a guarantee of 3 to 5 years |  |
| 27. | The price must include | - software necessary to operate the device and to manage and convert data  - a detailed operating manual in English  - all components necessary to operate the device  - shipping cost |  |

**\*** The Economic Contractor is obliged to provide all required parameters in column 3. It is allowed to confirm the offered parameters with the word "YES" only in the case of parameters which require confirmation.

........................................... day of.......................... ...............................................................................

*/ Place/ Signature(s) of person(s) authorized to*

*to representation*

1. Jeśli Wykonawca ma siedzibę lub miejsce zamieszkania poza terytorium Polski, oraz jeśli na podstawie odrębnych przepisów, Wykonawca nie jest zobowiązany do uiszczenia podatku od towarów i usług w Polsce, Wykonawca musi wskazać w ofercie wyłącznie wartość netto (tj. nieobejmującą podatku od towarów i usług). W celu porównania ofert, do wartości netto, o której mowa w zdaniu poprzedzającym, Zamawiający doliczy podatek od towarów i usług w ustawowej wysokości. [↑](#footnote-ref-1)
2. Delete as appropriate [↑](#footnote-ref-2)
3. [↑](#footnote-ref-3)